- Indoor monitor

Model No.ZZS-801ZCD8S10

- Features:

- 1.10" TFT-LCD digital touch screen,can monitor entrance,outdoor situation anytime and work with a door camera for a second calling.

2. Remote unlocking

- 3. Directly call can talk with center unit,and send alarm information.

- 4. Call any other indoor unit in LAN system

5. Download chord ring tones and setup mute status.

- 6. Call elevator function

- 7. Resident custody

- 8. Household appliance control

- 9. Support voice,pictures,message checking function

- 10.Accept service from center unit

- 11.Max 4 indoor units work together

12.Support remote upgrading function.

Specifications:

- Input voltage: +DC18V

- Working Humidity：45%--95%

- Storage temperature：-15—55℃

- Sensitivity：≤20mV

- Distortion：≤5％

- Display Pixel：384000dots

- Working Current：≤450mA

- Quiescent current：≤310mA

- Output power:≥50mW

- Display time：about 85—180S

- Network port：RJ45

- Network transmission mode：TCP\IP

- Dimension：Flush type 255x178x32mm

- Wall mount type 330x230x40mm

- Bottom case dimension:322x220x70mm

- Transmission range: router or PBX less than 100m, FOT more than 100m