该型号产品描述：

Gate station

Model No.UZM-801CS3

Features:

- 1.Max. 400,000 cards ,500,000 door phones capacity

- 2.5.6" TFT-LCD touch screen

- 3.Digital video / audio coding

- 4.Multi-channel

- 5.Calling divert,manage,avoid disturb,multi door phones,center units automatically choose free space

- 6.Call center unit and talk directly,remote unlocking

- 7.Password unlocking, door control unlocking optional,cancel defence area by card,capture once unlocking (optional function),anti-theft alarm function(optional)

8. Intimidation unlock alarm function

- 9. Door contact alarm function

- 10. Lift-call function (optional)

- 11. CCD infrared night vision compensation function

- 12. TCP\IP protocol with network function, support remote upgrade.

Specifications:

- Display: 3.5”TFT-LCD

- Working temperature:-30℃-55℃

- Working humidity: 45% - 95%

- Working current: ≤400mA

- Static current: ≤250mA

- Input Voltage: +DC18V

- Protection grade: IP33

- Conversation time: About 120s

- Camera:1/3” SONY SHADCCD.0.5LUX,36”

- Resolution: 420TV Line

- IC/ID card reading distance: ≤30mm

- Network transmission mode: TCP/IP

- External Dimensions:167×451×95mm(Embedded box included)

- Size of Button Case:148×432×82mm

- Network Port: RJ45

- Cable requirement:1*CAT5 8-core cable,1*RVV3 X 1.0mm as power cable.

- Transmission range: router or PBX less than 60m, FOT more than 60m