产品名称：Front Door Camera

产品型号：DZH-212C \CQ

产品特点：

Features:

1, Suitable for single-family and building with internet.

2, Call tenants and and intercom with tenants.

3, Visual function(B&W/Color), tenants can monitor the status of entrance.

4, Flush-mounting or wall-mounting

技术参数：

Specification:

Voltage Input - - - - - - - - - - - - - - - - - - - - - - - - - +15VDC

Static Current - - - - - - - - - - - - - - - - - - - - - - - -≤25 m A

Working Current- - - - - - - - - - - - - - - - - - - - - - - -≤150 m A

Operating Temperature- - - - - - - - - - - - - - - - - - - - 30 C～+ 55 C

Humidity- - - - - - - - - - - - - - - - - - - - - - - - - - - - - 45 %～85 %

Image Sensor- - - - - - - - - - - - - - - - - - - - - - - - - - - - -1/3 "SONY SHAD CCD

Sensitive area - - - - - - - - - - - - - - - - - - - - - - - - - - -3.9 mm×3.7 mm

Signal System- - - - - - - - - - - - - - - - - - - - - - - -- - - PAL/NTSC

Horizontal resolution- - - - - - - - - - - - - - - - - - - - - - - -- - -420

SNR- - - - - - - - - - - - - - - - - - - - - - - -- -.- - - - - - - - -＞48dB

Minimum illumination- - - - - - - - - - - - - - - - - - - - -- -.- 0.8 Lux

Systems Line - - - - - - - - - - -- -.- - - - - - - - - - - - - - - -- R V V 4×0 . 5 m m ≤5 0 m

R V V 4×1 . 0 m m ≤1 0 0 m

Video Cable - - - - -- -.- - - - - - - - - - - - - -- -.- - - - - - - 7 5 - 3≤5 0 m     7 5 - 5≤1 0 0 m

Transmission distance- - - --- - - --- - - --- - - --- - - --- - -≤100 m

Defence Grade- - - - - - - - - - - - - - - - - - - - - - - -- - - - -IP33

External Dimensions. - - - -- - - - -- - - - -- - - - -- - - - -- 101 x135 x44mm

Size of Bottom case. - - - -- - - - -- - - - -- - - - -- - - - -- 95 x128 x50mm